## Worksheet
BQ Item List for References
Use only BQ Item ID for BQ Items ID column in Template Empty & Update Progress.
BQ Item ID | Item No. | JC Item No. | Title | Description
10117 | 23 | PTN10.22 | Filling wash sand | Supply, fill and compact wash sand
10120 | 24 | PTN10.23 | Filling imported material | Supply, fill and compact suitable imported mtls
10123 | 25 | PTN10.24 | Restoration of Road - laterite earth to original thickness or min of 150mm | Supply, spread and compact road verges with laterite earth to original thickness or min of 150mm
10126 | 26 | PTN10.25 | Restoration of Road - PC slab G25pipe OD + 450 x 300(W) x 100(H) | Supply fix PC slab G25pipe OD + 450 x 300(W) x 100(H)
10129 | 27 | PTN10.26 | Restoration of Road - crusher run 450mm thk | Supply, spread & compact crusher run 450mm thk
10132 | 28 | PTN10.27 | Restoration of Road - lay interlocking (Hexagon) | Supply and lay interlocking (Hexagon)
10135 | 29 |  | Metalled Road - cold mix | Temporary cold mix metallled road
10138 | 30 | PTN10.28 | Metalled Road - 70mm thk binder coarse | Supply, spread & compact 70mm thk binder coarse
10156 | 36 | PTN10.34 | Turfing top soil 100mm | Supply and spread top soil 100mm
10165 | 39 | PTN10.37 | HDPE PE100 Pipes 63mm ND | 63mm ND pipe
10168 | 40 | PTN10.38 | HDPE PE100 Pipes 125mm ND | 125mm ND pipe
10171 | 41 | PTN10.39 | HDPE PE100 Pipes 180mm ND | 180mm ND pipe
10174 | 42 | PTN10.40 | HDPE PE100 Pipes 250mm ND | 250mm ND pipe
10177 | 43 |  | HDPE PE100 Pipes 315mm ND | 315mm ND pipe
10180 | 44 | PTN10.41 | HDPE PE100 Pipes 355mm ND | 355mm ND pipe
10183 | 45 | PTN10.42 | Long Stub End c/w Loose Flange PP/PE Coating - 63mm ND | 63mm ND
10186 | 46 | PTN10.43 | Long Stub End c/w Loose Flange PP/PE Coating - 125mm ND | 125mm ND
10189 | 47 | PTN10.44 | Long Stub End c/w Loose Flange PP/PE Coating - 180mm ND | 180mm ND
10192 | 48 | PTN10.45 | Long Stub End c/w Loose Flange PP/PE Coating - 250mm ND | 250mm ND
10195 | 49 | PTN10.46 | Long Stub End c/w Loose Flange PP/PE Coating - 315mm ND | 315mm ND
10198 | 50 | PTN10.47 | Long Stub End c/w Loose Flange PP/PE Coating - 355mm ND | 355mm ND
10201 | 51 |  | Electrofusion Elbows 45 deg - 63mm ND | 63mm ND
10204 | 52 |  | Electrofusion Elbows 45 deg - 125mm ND | 125mm ND
10207 | 53 |  | Electrofusion Elbows 45 deg - 180mm ND | 180mm ND
10210 | 54 |  | Electrofusion Elbows 45 deg - 250mm ND | 250mm ND
10213 | 55 |  | Electrofusion Elbows 45 deg - 315mm ND | 315mm ND
10216 | 56 |  | Electrofusion Elbows 45 deg - 355mm ND | 355mm ND
10219 | 57 |  | Spigot Elbows 45 deg - 63mm ND | 63mm ND
10222 | 58 | PTN10.48 | Spigot Elbows 45 deg - 125mm ND | 125mm ND
10225 | 59 | PTN10.49 | Spigot Elbows 45 deg - 180mm ND | 180mm ND
10228 | 60 |  | Spigot Elbows 45 deg - 250mm ND | 250mm ND
10231 | 61 |  | Spigot Elbows 45 deg - 315mm ND | 315mm ND
10234 | 62 |  | Spigot Elbows 45 deg - 355mm ND | 355mm ND
10237 | 63 | PTN10.50 | Electrofusion Elbows 90 deg - 125mm ND | 125mm ND
10240 | 64 | PTN10.51 | Electrofusion Elbows 90 deg - 180mm ND | 180mm ND
10243 | 65 |  | Electrofusion Elbows 90 deg - 250mm ND | 250mm ND
10246 | 66 |  | Electrofusion Elbows 90 deg - 315mm ND | 315mm ND
10249 | 67 | PTN10.52 | Spigot Elbows 90 deg - 125mm ND | 125mm ND
10252 | 68 | PTN10.53 | Spigot Elbows 90 deg - 180mm ND | 180mm ND
10255 | 69 |  | Spigot Elbows 90 deg - 250mm ND | 250mm ND
10258 | 70 |  | Spigot Elbows 90 deg - 315mm ND | 315mm ND
10261 | 71 |  | Spigot Elbows 90 deg - 355mm ND | 355mm ND
10264 | 72 | PTN10.54 | Spigot Equal Tees - 125mm ND x 125mm ND | 125mm ND x 125mm ND
10267 | 73 | PTN10.55 | Spigot Equal Tees - 180mm ND x 180mm ND | 180mm ND x 180mm ND
10270 | 74 |  | Spigot Equal Tees - 250mm ND x 250mm ND | 250mm ND x 250mm ND
10273 | 75 | PTN10.56 | Spigot Equal Tees - 315mm ND x 315mm ND | 315mm ND x 315mm ND
10276 | 76 | PTN10.57 | Spigot Equal Tees - 355mm ND x 355mm ND | 355mm ND x 355mm ND
10279 | 77 |  | Electrofusion Reducer Junction Tees - 180mm ND x 125mm ND | 180mm ND x 125mm ND
10282 | 78 |  | Electrofusion Reducer Junction Tees - 200mm ND x 125mm ND | 200mm ND x 125mm ND
10285 | 79 |  | Electrofusion Reducer Junction Tees - 200mm ND x 180mm ND | 200mm ND x 180mm ND
10288 | 80 |  | Electrofusion Reducer Junction Tees - 250mm ND x 125mm ND | 250mm ND x 125mm ND
10291 | 81 |  | Electrofusion Reducer Junction Tees - 250mm ND x 180mm ND | 250mm ND x 180mm ND
10294 | 82 |  | Electrofusion Reducer Junction Tees - 280mm ND x 125mm ND | 280mm ND x 125mm ND
10297 | 83 |  | Electrofusion Reducer Junction Tees - 315mm ND x 250mm ND | 315mm ND x 250mm ND
10300 | 84 | PTN10.58 | Spigot Reducer Tees - 125mm ND x 63mm ND | 125mm ND x 63mm ND
10303 | 85 | PTN10.59 | Spigot Reducer Tees - 180mm ND x 63mm ND | 180mm ND x 63mm ND
10306 | 86 | PTN10.60 | Spigot Reducer Tees - 180mm ND x 125mm ND | 180mm ND x 125mm ND
10309 | 87 | PTN10.61 | Spigot Reducer Tees - 250mm ND x 63mm ND | 250mm ND x 63mm ND
10312 | 88 | PTN10.62 | Spigot Reducer Tees - 250mm ND x 125mm ND | 250mm ND x 125mm ND
10315 | 89 | PTN10.63 | Spigot Reducer Tees - 250mm ND x 180mm ND | 250mm ND x 180mm ND
10318 | 90 | PTN10.64 | Spigot Reducer Tees - 315mm ND x 125mm ND | 315mm ND x 125mm ND
10321 | 91 | PTN10.65 | Spigot Reducer Tees - 355mm ND x 125mm ND | 355mm ND x 125mm ND
10324 | 92 |  | Spigot Reducer Tees - 355mm ND x 180mm ND | 355mm ND x 180mm ND
10327 | 93 | PTN10.66 | Invert Level Tees for Washout - 125mm ND x 125mm ND | 125mm ND x 125mm ND
10330 | 94 | PTN10.67 | Invert Level Tees for Washout - 180mm ND x 125mm ND | 180mm ND x 125mm ND
10333 | 95 |  | Invert Level Tees for Washout - 180mm ND x 150mm ND | 180mm ND x 150mm ND
10336 | 96 | PTN10.68 | Invert Level Tees for Washout - 250mm ND x 125mm ND | 250mm ND x 125mm ND
10339 | 97 |  | Invert Level Tees for Washout - 250mm ND x 180mm ND | 250mm ND x 180mm ND
10342 | 98 |  | Invert Level Tees for Washout - 315mm ND x 125mm ND | 315mm ND x 125mm ND
10345 | 99 | PTN10.69 | Branch Saddle Stackholding - 125mm ND x 63mm ND | 125mm ND x 63mm ND
10348 | 100 |  | Branch Saddle Stackholding - 180mm ND x 63mm ND | 180mm ND x 63mm ND
10351 | 101 |  | Branch Saddle Stackholding - 250mm ND x 63mm ND | 250mm ND x 63mm ND
10354 | 102 |  | Branch Saddle Stackholding - 315mm ND x 63mm ND | 315mm ND x 63mm ND
10357 | 103 |  | Puddle Collar - 125mm ND | 125mm ND
10360 | 104 |  | Puddle Collar - 180mm ND | 180mm ND
10363 | 105 |  | Puddle Collar - 250mm ND | 250mm ND
10366 | 106 |  | Puddle Collar - 315mm ND | 315mm ND
10369 | 107 | PTN10.79 | Spigot Reducer - 180mm ND x 125mm ND | 180mm ND x 125mm ND
10372 | 108 | PTN10.80 | Spigot Reducer - 250mm ND x 180mm ND | 250mm ND x 180mm ND
10375 | 109 |  | Spigot Reducer - 280mm ND x 250mm ND | 280mm ND x 250mm ND
10378 | 110 |  | Spigot Reducer - 315mm ND x 250mm ND | 315mm ND x 250mm ND
10381 | 111 |  | Spigot Reducer - 355mm ND x 250mm ND | 355mm ND x 250mm ND
10384 | 112 | PTN10.81 | Spigot Reducer - 355mm ND x 315mm ND | 355mm ND x 315mm ND
10387 | 113 | PTN10.70 | Coupler - 63mm ND | 63mm ND
10390 | 114 | PTN10.71 | Coupler - 125mm ND | 125mm ND
10393 | 115 | PTN10.72 | Coupler - 180mm ND | 180mm ND
10396 | 116 |  | Coupler - 225mm ND | 225mm ND
10399 | 117 | PTN10.73 | Coupler - 250mm ND | 250mm ND
10402 | 118 | PTN10.74 | Coupler - 315mm ND | 315mm ND
10405 | 119 | PTN10.75 | Coupler - 355mm ND | 355mm ND
10408 | 120 |  | Coupler - 63mm ND | 63mm ND
10411 | 121 | PTN10.77 | Coupler - 180mm ND | 180mm ND
10414 | 122 |  | Coupler - 250mm ND | 250mm ND
10417 | 123 | PTN10.78 | Coupler - 280mm ND | 280mm ND
10420 | 124 |  | Coupler - 315mm ND | 315mm ND
10423 | 125 | PTN10.82 | Straight Pipe (uPVC) - 100mm ND bellmouth pipes | 100mm ND bellmouth pipes
10426 | 126 | PTN10.83 | Straight Pipe (uPVC) - 155mm ND bellmouth pipes | 155mm ND bellmouth pipes
10429 | 127 | PTN10.84 | Straight Pipe (uPVC) - 200mm ND bellmouth pipes | 200mm ND bellmouth pipes
10432 | 128 | PTN10.85 | Plain and Flange Ended Straight Pipe - 100mm ND x 1000m long | 100mmND x 1000mm long
10435 | 129 | PTN10.86 | 150mm ditto | 150mm ditto
10438 | 130 | PTN10.87 | 200mm ditto | 200mm ditto
10441 | 131 | PTN10.88 | 250mm ditto | 250mm ditto
10444 | 132 | PTN10.89 | 300mm ditto | 300mm ditto
10447 | 133 | PTN10.90 | Plain Ended Straight Pipes (Underground) - 100mm ND x 1000m long | 100mmND x 1000mm long
10450 | 134 | PTN10.91 | 150mm ditto | 150mm ditto
10453 | 135 | PTN10.92 | 200mm ditto | 200mm ditto
10456 | 136 |  | 250mm ditto | 250mm ditto
10459 | 137 |  | 300mm ditto | 300mm ditto
10462 | 138 |  | Double Flange Ended Straight Pipe - 50mm ND x 300mm long | 50mm ND x 300mm long
10465 | 139 |  | Double Flange Ended Straight Pipe - 100mm ND x 750mm long | 100mm ND x 750mm long
10468 | 140 | PTN10.93 | Double Flange Ended Straight Pipe - 100mm ND x 1000mm long | 100mm ND x 1000mm long
10471 | 141 |  | Double Flange Ended Straight Pipe - 150mm ND x 1000mm long | 150mm ND x 1000mm long
10474 | 142 |  | Offtake Tee (Tapping) - 150mm ND plain ended barrel with 50mm ND ended branch | 150mm ND plain ended barrel with 50mm ND ended branch
10477 | 143 | PTN10.94 | Plain Ended Bends (Underground) - 100mm ND x up to 45 deg | 100mm ND x up to 45 deg
10480 | 144 | PTN10.95 | ditto 90 deg | ditto 90 deg
10483 | 145 | PTN10.96 | Plain Ended Bends (Underground) - 125mm ND x up to 45 deg | 125mm ND x up to 45 deg
10486 | 146 | PTN10.97 | ditto 90 deg | ditto 90 deg
10489 | 147 | PTN10.98 | Plain Ended Bends (Underground) - 150mm ND x up to 45 deg | 150mm ND x up to 45 deg
10492 | 148 | PTN10.99 | ditto 90 deg | ditto 90 deg
10495 | 149 | PTN10.100 | Plain Ended Bends (Underground) - 200mm ND x up to 45 deg | 200mm ND x up to 45 deg
10498 | 150 |  | ditto 90 deg | ditto 90 deg
10501 | 151 |  | Plain Ended Bends (Underground) - 250mm ND x up to 45 deg | 250mm ND x up to 45 deg
10504 | 152 |  | ditto 90 deg | ditto 90 deg
10507 | 153 |  | Plain Ended Bends (Underground) - 300mm ND x up to 45 deg | 300mm ND x up to 45 deg
10510 | 154 |  | Reducer Plain Ended - 200mm x 150mm | 200mm x 150mm
10513 | 155 | PTN10.101 | Plain Ended Tee - 100mm ND x 100mm ND | 100mm ND x 100mm ND
10516 | 156 | PTN10.102 | Plain Ended Tee - 150mm ND x 100mm ND | 150mm ND x 100mm ND
10519 | 157 | PTN10.103 | Plain Ended Tee - 250mm ND x 100mm ND | 250mm ND x 100mm ND
10522 | 158 | PTN10.104 | Straight Pipe (MS Pipe) - 100mm ND | 100mm ND
10525 | 159 | PTN10.105 | ditto coated & wrapped | ditto coated & wrapped
10528 | 160 | PTN10.106 | Straight Pipe (MS Pipe) - 150mm ND | 150mm ND
10531 | 161 | PTN10.107 | ditto coated & wrapped | ditto coated & wrapped
10534 | 162 | PTN10.108 | Straight Pipe (MS Pipe) - 200mm ND | 200mm ND
10537 | 163 | PTN10.109 | ditto coated & wrapped | ditto coated & wrapped
10540 | 164 |  | Straight Pipe (MS Pipe) - 250mm ND | 250mm ND
10543 | 165 |  | ditto coated & wrapped | ditto coated & wrapped
10546 | 166 |  | Straight Pipe (MS Pipe) - 300mm ND | 300mm ND
10549 | 167 |  | ditto coated & wrapped | ditto coated & wrapped
10552 | 168 |  | Plain Ended Straight Pipes (Above ground) - 100mm ND x 1000mm long | 100mm ND x 1000mm long
10555 | 169 |  | 150mm ditto | 150mm ditto
10558 | 170 |  | 200mm ditto | 200mm ditto
10561 | 171 |  | 250mm ditto | 250mm ditto
10564 | 172 | PTN10.110 | Plain Ended Bend - 100mm ND x 45 deg | 100mm ND x 45 deg
10567 | 173 | PTN10.111 | ditto | ditto
10570 | 174 | PTN10.112 | Plain Ended Bend - 150mm ND x 45 deg | 150mm ND x 45 deg
10573 | 175 | PTN10.113 | ditto | ditto
10576 | 176 | PTN10.114 | Plain Ended Bend - 200mm ND x 45 deg | 200mm ND x 45 deg
10579 | 177 | PTN10.115 | ditto | ditto
10582 | 178 |  | Plain Ended Bend - 250mm ND x 45 deg | 250mm ND x 45 deg
10585 | 179 |  | ditto | ditto
10588 | 180 |  | Plain Ended Bend - 300mm ND x 45 deg | 300mm ND x 45 deg
10591 | 181 |  | ditto | ditto
10594 | 182 | PTN10.116 | Air Valve Tee - 100mm ND x 50mm ND | 100mm ND x 50mm ND
10597 | 183 | PTN10.117 | Air Valve Tee - 150mm ND x 50mm ND | 150mm ND x 50mm ND
10600 | 184 | PTN10.118 | Air Valve Tee - 200mm ND x 50mm ND | 200mm ND x 50mm ND
10603 | 185 |  | Air Valve Tee - 250mm ND x 50mm ND | 250mm ND x 50mm ND
10606 | 186 |  | Air Valve Tee - 300mm ND x 50mm ND | 300mm ND x 50mm ND
10609 | 187 | PTN10.119 | MS Collar - 100mm ND | 100mm ND
10612 | 188 | PTN10.120 | MS Collar - 150mm ND | 150mm ND
10615 | 189 | PTN10.121 | MS Collar - 200mm ND | 200mm ND
10618 | 190 | PTN10.122 | MS Collar - 250mm ND | 250mm ND
10621 | 191 | PTN10.123 | MS Collar - 300mm ND | 300mm ND
10624 | 192 | PTN10.124 | Flange Adaptor Joint - 100mm ND | 100mm ND
10627 | 193 | PTN10.125 | Flange Adaptor Joint - 150mm ND | 150mm ND
10630 | 194 |  | Flange Adaptor Joint - 200mm ND | 200mm ND
10633 | 195 |  | Flange Adaptor Joint - 250mm ND | 250mm ND
10636 | 196 |  | HDPE Flange Adaptor Joint - 100mm ND | 100mm ND
10639 | 197 |  | HDPE Flange Adaptor Joint - 150mm ND | 150mm ND
10642 | 198 |  | HDPE Flange Adaptor Joint - 200mm ND | 200mm ND
10645 | 199 |  | HDPE Flange Adaptor Joint - 250mm ND | 250mm ND
10648 | 200 |  | Dresser Joint - 100mm ND | 100mm ND
10651 | 201 |  | Dresser Joint - 150mm ND | 150mm ND
10654 | 202 |  | Dresser Joint - 200mm ND | 200mm ND
10657 | 203 |  | Dresser Joint - 250mm ND | 250mm ND
10660 | 204 |  | Dresser Joint - 300mm ND | 300mm ND
10663 | 205 | PTN10.127 | Detachable Joint - 100mm ND | 100mm ND
10666 | 206 | PTN10.128 | Detachable Joint - 150mm ND | 150mm ND
10669 | 207 | PTN10.129 | Detachable Joint - 200mm ND | 200mm ND
10672 | 208 | PTN10.130 | Detachable Joint - 250mm ND | 250mm ND
10675 | 209 | PTN10.131 | Detachable Joint - 300mm ND | 300mm ND
10678 | 210 |  | Universal Coupling - 150mm ND | 150mm ND
10681 | 211 |  | Universal Coupling - 200mm ND | 200mm ND
10684 | 212 |  | Universal Coupling - 250mm ND | 250mm ND
10687 | 213 | PTN10.132 | Variable Adaptor Joint - 100mm ND | VAJ on 100mm ND
10690 | 214 | PTN10.133 | Variable Adaptor Joint - 150mm ND | VAJ on 150mm ND
10693 | 215 | PTN10.134 | Blank Flange - 100mm ND | 100mm ND
10696 | 216 | PTN10.135 | Blank Flange - 150mm ND | 150mm ND
10699 | 217 |  | Blank Flange - 200mm ND | 200mm ND
10702 | 218 |  | Blank Flange - 250mm ND | 250mm ND
10705 | 219 |  | Tiger Fitt - 250mm ND | 250mm ND
10708 | 220 |  | Flange Joint - 50mm ND | 50mm ND
10711 | 221 |  | Flange Joint - 100mm ND | 100mm ND
10714 | 222 |  | Flange Joint - 150mm ND | 150mm ND
10741 | 231 | PTN10.142 | HDPE Shut Off Valve c/w Cap Top - 63mm ND | 63mm ND
10744 | 232 | PTN10.143 | HDPE Shut Off Valve c/w Cap Top - 125mm ND | 125mm ND
10747 | 233 | PTN10.144 | HDPE Shut Off Valve c/w Cap Top - 180mm ND | 180mm ND
10750 | 234 |  | HDPE Shut Off Valve c/w Cap Top - 200mm ND | 200mm ND
10753 | 235 | PTN10.145 | HDPE Shut Off Valve c/w Cap Top - 250mm ND | 250mm ND
10756 | 236 | PTN10.146 | EO for spindle extension | EO for spindle extension
10759 | 237 |  | HDPE Ball Valve c/w Cap Top - 63mm ND | 63mm ND
10762 | 238 |  | HDPE Pressure Tapping Valve - 125mm ND x 63mm | 125mm ND x 63mm
10765 | 239 | PTN10.147 | HDPE Pressure Tapping Valve - 180mm ND x 63mm | 180mm ND x 63mm
10768 | 240 | PTN10.148 | Sluice Valves - 50mm ND | 50mm ND
10771 | 241 | PTN10.149 | Sluice Valves - 100mm ND | 100mm ND
10774 | 242 | PTN10.150 | Sluice Valves - 150mm ND | 150mm ND
10777 | 243 | PTN10.151 | Sluice Valves - 200mm ND | 200mm ND
10780 | 244 | PTN10.152 | Sluice Valves - 250mm ND | 250mm ND
10783 | 245 | PTN10.153 | Sluice Valves - 300mm ND | 300mm ND
10786 | 246 | PTN10.154 | Air Valves - 50mm ND | 50mm ND
10789 | 247 |  | Air Valves - 80mm ND | 80mm ND
10792 | 248 | PTN10.155 | Hydrants - 100mm Dia | 100mm Dia
10795 | 249 | PTN10.156 | Hydrants - 100mm Dia D.I double flanged 90 deg duckfoot bend | 100mm Dia D.I double flanged 90 degree duckfoot bend
10798 | 250 |  | PRV - 150mm ND | 150mm ND
10801 | 251 |  | PRV - 200mm ND | 200mm ND
10804 | 252 | PTN10.157 | Precast Chamber - 605mm x 530mm small chamber | 605mm x 530mm small chamber
10807 | 253 | PTN10.158 | EO for middle section | EO for middle section
10810 | 254 | PTN10.159 | Precast Chamber - 840mm x 760mm big chamber | 840mm x 760mm big chamber
10813 | 255 | PTN10.160 | EO for middle section | EO for middle section
10816 | 256 | PTN10.161 | DI Heavy Duty Chamber - 320mm Dia x 440mm x 609mm (H) small chamber | 320mm Dia x 440mm x 609mm (H) small chamber
10819 | 257 | PTN10.162 | EO for extension ring | EO for extension ring
10822 | 258 |  | DI Heavy Duty Chamber - 710mm Dia x 710mm x 100mm (H) big chamber | 710mm Dia x 710mm x 100mm (H) big chamber
10825 | 259 |  | EO for extension ring | EO for extension ring
10831 | 261 |  | Brickwork Chamber - 1400mm x 1200mm | 1400mm x 1200mm chamber
10834 | 262 | PTN10.163 | Surface Box - 500mm x 500mmx 150mm (H) | 500mm x 500mm x 150mm (H) Metal Surface Box
10837 | 263 | PTN10.164 | Air Valve Support | Metal Support for air valve
10840 | 264 | PTN10.165 | Blinding G15 - 50mm thk | 50mm thk
10843 | 265 | PTN10.166 | Mass Cocrete G20 | Thrut blocks etc
10846 | 266 | PTN10.167 | Reinforced Concrete G25 | In footings, column, thrust blocks
10849 | 267 | PTN10.168 | Pipeline / Marker Posts | Pipe Marker
10852 | 268 | PTN10.169 | Tapping Points (for HDPE Pipe) - 63mm ND x 25mm | 63mm ND x 25mm
10855 | 269 | PTN10.170 | Tapping Points (for HDPE Pipe) - 125mm ND x 25mm | 125mm ND x 25mm
10858 | 270 | PTN10.171 | Tapping Points (for HDPE Pipe) - 180mm ND x 25mm | 180mm ND x 25mm
10861 | 271 |  | Tapping Points (for HDPE Pipe) - 225mm ND x 25mm | 225mm ND x 25mm
10864 | 272 | PTN10.172 | Tapping Points (for HDPE Pipe) - 250mm ND x 25mm | 250mm ND x 25mm
10867 | 273 |  | Tapping Points (for HDPE Pipe) - 315mm ND x 25mm | 315mm ND x 25mm
10870 | 274 | PTN10.173 | Tapping Points (for HDPE Pipe) - 355mm ND x 25mm | 355mm ND x 25mm
10873 | 275 | PTN10.174 | Tapping Point Type A (for non HDPE Pipe) - 100mm ND x 25mm | 100mm ND x 25mm
10876 | 276 | PTN10.175 | Tapping Point Type A (for non HDPE Pipe) - 150mm ND x 25mm | 150mm ND x 25mm
10879 | 277 |  | Tapping Point Type A (for non HDPE Pipe) - 150mm ND x 25mm x 2 nos (Double tapping) | 150mm ND x 25mm x 2 nos (Double Tapping)
10882 | 278 | PTN10.176 | Tapping Point Type A (for non HDPE Pipe) - 200mm ND x 25mm | 200mm ND x 25mm
10885 | 279 | PTN10.177 | Tapping Point Type A (for non HDPE Pipe) - 250mm ND x 25mm | 250mm ND x 25mm
10888 | 280 |  | Tapping Point Type A (for non HDPE Pipe) - 300mm ND x 25mm | 300mm ND x 25mm
10891 | 281 | PTN10.178 | Tapping Point Type B (for non HDPE Pipe) - 100mm ND x 25mm | 100mm ND x 25mm
10894 | 282 | PTN10.179 | Tapping Point Type B (for non HDPE Pipe) - 150mm ND x 25mm | 150mm ND x 25mm
10897 | 283 |  | Tapping Point Type B (for non HDPE Pipe) - 150mm ND x 25mm x 2 nos (Double tapping) | 150mm ND x 25mm x 2 nos (Double Tapping)
10900 | 284 |  | Tapping Point Type B (for non HDPE Pipe) - 155mm ND x 25mm | 155mm ND x 25mm
10903 | 285 | PTN10.180 | Tapping Point Type B (for non HDPE Pipe) - 200mm ND x 25mm | 200mm ND x 25mm
10906 | 286 |  | Tapping Point Type B (for non HDPE Pipe) - 250mm ND x 25mm | 250mm ND x 25mm
10909 | 287 | PTN10.181 | Tapping Point Type B (for non HDPE Pipe) - 300mm ND x 25mm | 300mm ND x 25mm
10915 | 289 | PTN10.183 | Communication Pipe (HDPE) - 25mm ND | 25mm ND
10918 | 290 | PTN10.184 | Communication Pipe (HDPE) - 32mm ND | 32mm ND
10921 | 291 | PTN10.185 | Communication Pipe (HDPE) - 50mm ND | 50mm ND
10924 | 292 | PTN10.186 | Communication Pipe (HDPE) - 63mm ND | 63mm ND
10942 | 298 | PTN10.192 | SS (SS 304) Meter Stand - 20mm ND | 20mm ND
10945 | 299 | PTN10.193 | SS (SS 304) Meter Stand - 25mm ND | 25mm ND
10948 | 300 | PTN10.194 | SS (SS 304) Meter Stand - 40mm ND | 40mm ND
10951 | 301 | PTN10.195 | SS (SS 304) Meter Stand - 50mm ND | 50mm ND
10954 | 302 | PTN10.196 | SS (SS 304) Meter Stand - 2 tier | 2-tier meter stand
10957 | 303 | PTN10.197 | SS (SS 304) Meter Stand - 3 tier | 3-tier meter stand
10960 | 304 | PTN10.198 | SS (SS 304) Meter Stand - 4 tier | 4-tier meter stand
10963 | 305 |  | SS (SS 304) Meter Stand - 5 tier | 5-tier meter stand
10966 | 306 | PTN10.199 | SS (SS 304) Pipe - 20mm ND | 20mm ND
10969 | 307 | PTN10.200 | SS (SS 304) Pipe - 50mm ND | 50mm ND
10990 | 314 | PTN10.202 | Precast Concrete Piles - 150 x 150 x 6m RC pile incl. pile shoe | 150 x 150 x 6m RC pile incl. pile shoe
10993 | 315 | PTN10.203 | Precast Concrete Piles - 150 x 150 x 6m RC pile | 150 x 150 x 6m RC pile
11005 | 319 | PTN10.207 | Precast Concrete Piles - 10mm thk linatex rubber padding | 10mm thk linatex rubber padding
11008 | 320 | PTN10.208 | Precast Concrete Piles - 70mm x 6mm thk galvanised MS trap | 70mm x 6mm thk galvanised MS trap
11026 | 326 |  | Twin Column Saddle Support - 10mm thk linatex | 10mm thk linatex
11029 | 327 |  | Twin Column Saddle Support - 76mm x 6mm Gal MS trap | 76mm x 6mm Gal MS trap
11032 | 328 | PTN10.210 | Bakau Pile - 100mm Dia | 100mm Dia
11038 | 330 | PTN10.212 | 80mm Dia uPVC Pipe Class D - 80mm Dia x 6m long uPVC pipe | 80mm Dia x 6m long uPVC pipe
11041 | 331 | PTN10.213 | 80mm Dia uPVC Pipe Class D- Steel R6 reinforcement bar | Steel R6 reinforcement bar
11053 | 335 | PTN10.217 | 80mm Dia uPVC Pipe Class D- Galvanised pipe bracing | Galvanised pipe bracing
11092 | 348 |  | Miscellaneous - 100mm uPVC pipe | 100mm uPVC pipe
11095 | 349 |  | Supply, lay & compact gravel | Supply, lay & compact gravel
11098 | 350 |  | Supply and lay 225mm thick stone pitching | Supply and lay 225mm thick stone pitching
11104 | 352 | PTN10.230 | Supply and lay 20mm thk granite chipping | Supply and lay 20mm thk granite chipping
11110 | 354 | PTN10.232 | Supply and lay Geonet | To supply and lay Geonet