## Worksheet
BQ Item List for References
Use only BQ Item ID for BQ Items ID column in Template Empty & Update Progress.
BQ Item ID | Item No. | JC Item No. | Title | Description
2079 | 23 | PTN11.19 | Filling wash sand | Supply, fill and compact wash sand
2082 | 24 | PTN11.20 | Filling imported mtls | Supply, fill and compact suitable imported mtls
2085 | 25 | PTN11.21 | Restoration of Road laterite earth | Supply,spread and compact road verges with laterite earth to original thickness or min of 150mm
2088 | 26 | PTN11.22 | Restoration of Road PC Slab G25 Pipe OD + 450 x 300(W) x 100(H) | Supply, fix PC Slab G25 Pipe OD + 450 x 300(W) x 100(H)
2091 | 27 | PTN11.23 | Restoration of Road crusher run 450mm Thk | Supply, spread & compact crusher run 450mm Thk
8071 | 28 |  | Restoration of Road interlocking (hexagon) | Supply and lay interlocking (hexagon)
8074 | 29 |  | Metalled Road Cold Mix | Temporary Cold Mix metalled road
8077 | 30 |  | Metalled Road Binder coarse- 70mm thk | Supply, spread & compact 70mm thk Binder coarse
8095 | 36 | PTN11.30 | Turfing - top soil 100mm | Supply and spread top soil 100mm
8098 | 37 | PTN11.31 | Turfing - spot turfing | Spot turfing
8101 | 38 | PTN11.32 | Turfing - close turfing | Close turfing
8104 | 39 | PTN11.33 | HDPE PE100 Pipes - 63mm ND | 63MM ND Pipe
8107 | 40 | PTN11.34 | HDPE PE100 Pipes - 125mm ND | 125MM ND Pipe
8110 | 41 | PTN11.35 | HDPE PE100 Pipes - 180mm ND | 180MM ND Pipe
8113 | 42 | PTN11.36 | HDPE PE100 Pipes - 250mm ND | 250MM ND Pipe
8116 | 43 |  | HDPE PE100 Pipes - 315mm ND | 315MM ND Pipe
8119 | 44 |  | HDPE PE100 Pipes - 355mm ND | 355MM ND Pipe
8122 | 45 | PTN11.37 | Long Stub End c/w Loose Flange PP/PE Coating - 63mm ND | 63MM ND Pipe
8125 | 46 | PTN11.38 | Long Stub End c/w Loose Flange PP/PE Coating - 125mm ND | 125MM ND Pipe
8128 | 47 | PTN11.39 | Long Stub End c/w Loose Flange PP/PE Coating - 180mm ND | 180MM ND Pipe
8131 | 48 | PTN11.40 | Long Stub End c/w Loose Flange PP/PE Coating - 250mm ND | 250MM ND Pipe
8134 | 49 |  | Long Stub End c/w Loose Flange PP/PE Coating - 315mm ND | 315MM ND Pipe
8137 | 50 |  | Long Stub End c/w Loose Flange PP/PE Coating - 355mm ND | 355MM ND Pipe
8140 | 51 |  | Electrofusion Elbows 45 deg - 63mm ND | 63MM ND Pipe
8143 | 52 | PTN11.41 | Electrofusion Elbows 45 deg - 125mm ND | 125MM ND Pipe
8146 | 53 | PTN11.42 | Electrofusion Elbows 45 deg - 180mm ND | 180MM ND Pipe
8149 | 54 | PTN11.43 | Electrofusion Elbows 45 deg - 250mm ND | 250MM ND Pipe
8152 | 55 |  | Electrofusion Elbows 45 deg - 315mm ND | 315MM ND Pipe
8155 | 56 |  | Electrofusion Elbows 45 deg - 355mm ND | 355MM ND Pipe
8158 | 57 |  | Spigot Elbow 45 deg - 63mm ND | 63MM ND Pipe
8161 | 58 | PTN11.44 | Spigot Elbow 45 deg - 125mm ND | 125MM ND Pipe
8164 | 59 | PTN11.45 | Spigot Elbow 45 deg - 180mm ND | 180MM ND Pipe
8167 | 60 | PTN11.46 | Spigot Elbow 45 deg - 250mm ND | 250MM ND Pipe
8170 | 61 |  | Spigot Elbow 45 deg - 315mm ND | 315MM ND Pipe
8173 | 62 |  | Spigot Elbow 45 deg - 355mm ND | 355MM ND Pipe
8176 | 63 | PTN11.47 | Electrofusion Elbows 90 deg - 125mm ND | 125MM ND Pipe
8179 | 64 | PTN11.48 | Electrofusion Elbows 90 deg - 180mm ND | 180MM ND Pipe
8182 | 65 | PTN11.49 | Electrofusion Elbows 90 deg - 250mm ND | 250MM ND Pipe
8185 | 66 |  | Electrofusion Elbows 90 deg - 315mm ND | 315MM ND Pipe
8188 | 67 | PTN11.50 | Spigot Elbow 90 deg - 125mm ND | 125MM ND Pipe
8191 | 68 | PTN11.51 | Spigot Elbow 90 deg - 180mm ND | 180MM ND Pipe
8194 | 69 | PTN11.52 | Spigot Elbow 90 deg - 250mm ND | 250MM ND Pipe
8197 | 70 |  | Spigot Elbow 90 deg - 315mm ND | 315MM ND Pipe
8200 | 71 |  | Spigot Elbow 90 deg - 355mm ND | 355MM ND Pipe
8203 | 72 | PTN11.53 | Spigot Equal Tees - 125mm ND x 125mm ND | 125mm ND x 125mm ND
8206 | 73 | PTN11.54 | Spigot Equal Tees - 180mm ND x 180mm ND | 180mm ND x 180mm ND
8209 | 74 |  | Spigot Equal Tees - 250mm ND x 250mm ND | 250mm ND x 250mm ND
8212 | 75 |  | Spigot Equal Tees - 315mm ND x 315mm ND | 315mm ND x 315mm ND
8215 | 76 |  | Spigot Equal Tees - 355mm ND x 355mm ND | 355mm ND x355mm ND
8218 | 77 |  | Electrofusion Reducer Junction Tees - 180mm ND x 125mm ND | 180mm ND x 125mm ND
8221 | 78 |  | Electrofusion Reducer Junction Tees - 200mm ND x 125mm ND | 200mm ND x 125mm ND
8224 | 79 |  | Electrofusion Reducer Junction Tees - 200mm ND x 180mm ND | 200mm ND x 180mm ND
8227 | 80 |  | Electrofusion Reducer Junction Tees - 250mm ND x 125mm ND | 250mm ND x 125mm ND
8230 | 81 |  | Electrofusion Reducer Junction Tees - 250mm ND x 180mm ND | 250mm ND x 180mm ND
8233 | 82 |  | Electrofusion Reducer Junction Tees - 280mm ND x 125mm ND | 280mm ND x 125mm ND
8236 | 83 |  | Electrofusion Reducer Junction Tees - 315mm ND x 250mm ND | 315mm ND x 250mm ND
8239 | 84 |  | Spigot Reducer Tees - 125mm ND x 63mm ND | 125mm ND x 63mm ND
8242 | 85 | PTN11.55 | Spigot Reducer Tees - 180mm ND x 63mm ND | 180mm ND x 63mm ND
8245 | 86 | PTN11.56 | Spigot Reducer Tees - 180mm ND x 125mm ND | 180mm ND x 125mm ND
8248 | 87 |  | Spigot Reducer Tees - 250mm ND x 63mm ND | 250mm ND x 63mm ND
8251 | 88 | PTN11.57 | Spigot Reducer Tees - 250mm ND x 125mm ND | 250mm ND x 125mm ND
8254 | 89 | PTN11.58 | Spigot Reducer Tees - 250mm ND x 180mm ND | 250mm ND x 180mm ND
8257 | 90 |  | Spigot Reducer Tees - 315mm ND x 125mm ND | 315mm ND x 125mm ND
8260 | 91 |  | Spigot Reducer Tees - 355mm ND x 125mm ND | 355mm ND x 125mm ND
8263 | 92 |  | Spigot Reducer Tees - 355mm ND x 180mm ND | 355mm ND x 180mm ND
8266 | 93 | PTN11.59 | Invert Level Tees for Washout - 125mm ND x 125mm ND | 125mm ND x 125mm ND
8269 | 94 | PTN11.60 | Invert Level Tees for Washout - 180mm ND x 125mm ND | 180mm ND x 125mm ND
8272 | 95 | PTN11.61 | Invert Level Tees for Washout - 180mm ND x 150mm ND | 180mm ND x 150mm ND
8275 | 96 | PTN11.62 | Invert Level Tees for Washout - 250mm ND x 125mm ND | 250mm ND x 125mm ND
8278 | 97 | PTN11.63 | Invert Level Tees for Washout - 250mm ND x 180mm ND | 250mm ND x 180mm ND
8281 | 98 |  | Invert Level Tees for Washout - 315mm ND x 125mm ND | 315mm ND x 125mm ND
8284 | 99 |  | Branch Saddle Stackloading - 125mm ND x 63mm ND | 125mm ND x 63mm ND
8287 | 100 | PTN11.64 | Branch Saddle Stackloading - 180mm ND x 63mm ND | 180mm ND x 63mm ND
8290 | 101 |  | Branch Saddle Stackloading - 250mm ND x 63mm ND | 250mm ND x 63mm ND
8293 | 102 |  | Branch Saddle Stackloading - 315mm ND x 63mm ND | 315mm ND x 63mm ND
8296 | 103 | PTN11.65 | Puddle Collar - 125mm ND | 125mm ND
8299 | 104 | PTN11.66 | Puddle Collar - 180mm ND | 180mm ND
8302 | 105 | PTN11.67 | Puddle Collar - 250mm ND | 250mm ND
8305 | 106 |  | Puddle Collar - 315mm ND | 315mm ND
8308 | 107 | PTN11.68 | Spigot Reducer - 180mm ND x 125mm ND | 180mm ND x 125mm ND
8311 | 108 | PTN11.69 | Spigot Reducer - 250mm ND x 180mm ND | 250mm ND x 180mm ND
8314 | 109 |  | Spigot Reducer - 280mm ND x 250mm ND | 280mm ND x 250mm ND
8317 | 110 |  | Spigot Reducer - 315mm ND x 250mm ND | 315mm ND x 250mm ND
8320 | 111 |  | Spigot Reducer - 355mm ND x 250mm ND | 355mm ND x 250mm ND
8323 | 112 |  | Spigot Reducer - 355mm ND x 315mm ND | 355mm ND x 315mm ND
8326 | 113 | PTN11.70 | Coupler - 63mm ND | 63mm ND
8329 | 114 | PTN11.71 | Coupler - 125mm ND | 125mm ND
8332 | 115 | PTN11.72 | Coupler - 180mm ND | 180mm ND
8335 | 116 | PTN11.73 | Coupler - 225mm ND | 225mm ND
8338 | 117 | PTN11.74 | Coupler - 250mm ND | 250mm ND
8341 | 118 |  | Coupler - 315mm ND | 315mm ND
8344 | 119 |  | Coupler - 355mm ND | 355mm ND
8347 | 120 |  | End Cap - 63mm ND | 63mm ND
8350 | 121 | PTN11.76 | End Cap - 180mm ND | 180mm ND
8353 | 122 |  | End Cap - 250mm ND | 250mm ND
8356 | 123 |  | End Cap - 280mm ND | 280mm ND
8359 | 124 |  | End Cap - 315mm ND | 315mm ND
8362 | 125 | PTN11.77 | Straight Pipe (uPVC) - 100mm ND bellmouth pipes | 100mm ND bellmouth pipes
8365 | 126 | PTN11.78 | Straight Pipe (uPVC) - 155mm ND bellmouth pipes | 155mm ND bellmouth pipes
8368 | 127 |  | Straight Pipe (uPVC) - 200mm ND bellmouth pipes | 200mm ND bellmouth pipes
8371 | 128 | PTN11.79 | Plain and Flange Ended Straight Pipe - 100mm ND x 1000mm long | 100mm ND x 1000mm long
8374 | 129 | PTN11.80 | 150mm ditto | 150mm ditto
8377 | 130 | PTN11.81 | 200mm ditto | 200mm ditto
8380 | 131 |  | 250mm ditto | 250mm ditto
8383 | 132 |  | 300mm ditto | 300mm ditto
8386 | 133 |  | Plain Ended Straight Pipes (Underground) - 100mm ND x 1000mm long | 100mm ND x 1000mm long
8389 | 134 |  | 150mm ditto | 150mm ditto
8392 | 135 |  | 200mm ditto | 200mm ditto
8395 | 136 |  | 250mm ditto | 250mm ditto
8398 | 137 |  | 300mm ditto | 300mm ditto
8401 | 138 |  | Double Flanged Ended Straight Pipe - 50mm ND x 300mm long | 50mm ND x 300mm long
8404 | 139 | PTN11.82 | Double Flanged Ended Straight Pipe - 100mm ND x 750mm long | 100mm ND x 750mm long
8407 | 140 | PTN11.83 | Double Flanged Ended Straight Pipe - 100mm ND x 1000mm long | 100mm ND x 1000mm long
8410 | 141 |  | Double Flanged Ended Straight Pipe - 150mm ND x 1000mm long | 150mm ND x 1000mm long
8413 | 142 |  | Offtake Tee (Tapping)- 150mm ND plain ended barrel with 50mm ND ended branch | 150mm ND plain ended barrel with 50mm ND ended branch
8416 | 143 | PTN11.84 | Plain Ended Bends (Underground) - 100mm ND x up to 45 deg | 100mm ND x up to 45 deg
8419 | 144 |  | ditto 90 deg | ditto 90 deg
8422 | 145 |  | Plain Ended Bends (Underground) - 125mm ND x up to 45 deg | 125mm ND x up to 45 deg
8425 | 146 |  | ditto 90 deg | ditto 90 deg
8428 | 147 | PTN11.85 | Plain Ended Bends (Underground) - 150mm ND x up to 45 deg | 150mm ND x up to 45 deg
8431 | 148 |  | ditto 90 deg | ditto 90 deg
8434 | 149 | PTN11.86 | Plain Ended Bends (Underground) - 200mm ND x up to 45 deg | 200mm ND x up to 45 deg
8437 | 150 |  | ditto 90 deg | ditto 90 deg
8440 | 151 |  | Plain Ended Bends (Underground) - 250mm ND x up to 45 deg | 250mm ND x up to 45 deg
8443 | 152 |  | ditto 90 deg | ditto 90 deg
8446 | 153 |  | Plain Ended Bends (Underground) - 300mm ND x up to 45 deg | 300mm ND x up to 45 deg
8449 | 154 |  | Reducer Plain Ended - 200mm x 150mm | 200mm x 150mm
8452 | 155 |  | Plain Ended Tee - 100mm ND x 100mm ND | 100mm ND x 100mm ND
8455 | 156 |  | Plain Ended Tee - 150mm ND x 100mm ND | 150mm ND x 100mm ND
8458 | 157 |  | Plain Ended Tee - 250mm ND x 100mm ND | 250mm ND x 100mm ND
8461 | 158 | PTN11.87 | Straight Pipe (MS Pipe) - 100mm ND | 100mm ND
8464 | 159 | PTN11.88 | ditto coated & wrapped | ditto coated & wrapped
8467 | 160 | PTN11.89 | Straight Pipe (MS Pipe) - 150mm ND | 150mm ND
8470 | 161 | PTN11.90 | ditto coated & wrapped | ditto coated & wrapped
8473 | 162 | PTN11.91 | Straight Pipe (MS Pipe) - 200mm ND | 200mm ND
8476 | 163 | PTN11.92 | ditto coated & wrapped | ditto coated & wrapped
8479 | 164 |  | Straight Pipe (MS Pipe) - 250mm ND | 250mm ND
8482 | 165 |  | ditto coated & wrapped | ditto coated & wrapped
8485 | 166 |  | Straight Pipe (MS Pipe) - 300mm ND | 300mm ND
8488 | 167 |  | ditto coated & wrapped | ditto coated & wrapped
8491 | 168 |  | Plain Ended Straight Pipes (Above ground) - 100mm ND x 1000mm long | 100mm ND x 1000mm long
8494 | 169 |  | 150mm ditto | 150mm ditto
8497 | 170 |  | 200mm ditto | 200mm ditto
8500 | 171 |  | 250mm ditto | 250mm ditto
8503 | 172 | PTN11.93 | Plain Ended Bend - 100mm ND x 45 deg | 100mm ND x 45 deg
8506 | 173 |  | ditto 90 deg | ditto 90 deg
8509 | 174 | PTN11.94 | Plain Ended Bend - 150mm ND x 45 deg | 150mm ND x 45 deg
8512 | 175 |  | ditto 90 deg | ditto 90 deg
8515 | 176 | PTN11.95 | Plain Ended Bend - 200mm ND x 45 deg | 200mm ND x 45 deg
8518 | 177 |  | ditto 90 deg | ditto 90 deg
8521 | 178 |  | Plain Ended Bend - 250mm ND x 45 deg | 250mm ND x 45 deg
8524 | 179 |  | ditto 90 deg | ditto 90 deg
8527 | 180 |  | Plain Ended Bend - 300mm ND x 45 deg | 300mm ND x 45 deg
8530 | 181 |  | ditto 90 deg | ditto 90 deg
8533 | 182 | PTN11.96 | Air Valve Tee - 100mm ND x 50mm ND | 100mm ND x 50mm ND
8536 | 183 | PTN11.97 | Air Valve Tee - 150mm ND x 50mm ND | 150mm ND x 50mm ND
8539 | 184 | PTN11.98 | Air Valve Tee - 200mm ND x 50mm ND | 200mm ND x 50mm ND
8542 | 185 |  | Air Valve Tee - 250mm ND x 50mm ND | 250mm ND x 50mm ND
8545 | 186 |  | Air Valve Tee - 300mm ND x 50mm ND | 300mm ND x 50mm ND
8548 | 187 | PTN11.99 | MS Collar - 100mm ND | 100mm ND
8551 | 188 | PTN11.100 | MS Collar - 150mm ND | 150mm ND
8554 | 189 | PTN11.101 | MS Collar - 200mm ND | 200mm ND
8557 | 190 |  | MS Collar - 250mm ND | 250mm ND
8560 | 191 |  | MS Collar - 300mm ND | 300mm ND
8563 | 192 |  | Flange Adaptor Joint - 100mm ND | 100mm ND
8566 | 193 |  | Flange Adaptor Joint - 150mm ND | 150mm ND
8569 | 194 |  | Flange Adaptor Joint - 200mm ND | 200mm ND
8572 | 195 |  | Flange Adaptor Joint - 250mm ND | 250mm ND
8575 | 196 |  | HDPE Flange Adaptor Joint - 100mm ND | 100mm ND
8578 | 197 |  | HDPE Flange Adaptor Joint - 150mm ND | 150mm ND
8581 | 198 |  | HDPE Flange Adaptor Joint - 200mm ND | 200mm ND
8584 | 199 |  | HDPE Flange Adaptor Joint - 250mm ND | 250mm ND
8587 | 200 |  | Dresser Joint - 100mm ND | 100mm ND
8590 | 201 |  | Dresser Joint - 150mm ND | 150mm ND
8593 | 202 |  | Dresser Joint - 200mm ND | 200mm ND
8596 | 203 |  | Dresser Joint - 250mm ND | 250mm ND
8599 | 204 |  | Dresser Joint - 300mm ND | 300mm ND
8602 | 205 | PTN11.102 | Detachable Joint - 100mm ND | 100mm ND
8605 | 206 | PTN11.103 | Detachable Joint - 150mm ND | 150mm ND
8608 | 207 | PTN11.104 | Detachable Joint - 200mm ND | 200mm ND
8611 | 208 |  | Detachable Joint - 250mm ND | 250mm ND
8614 | 209 |  | Detachable Joint - 300mm ND | 300mm ND
8617 | 210 |  | Universal Coupling - 150mm ND | 150mm ND
8620 | 211 |  | Universal Coupling - 200mm ND | 200mm ND
8623 | 212 |  | Universal Coupling - 250mm ND | 250mm ND
8626 | 213 | PTN11.105 | Variable Adapter Joint on 100mm ND | VAJ on 100mm ND
8629 | 214 | PTN11.106 | Variable Adapter Joint on 150mm ND | VAJ on 150mm ND
8632 | 215 | PTN11.110 | Blank Flange - 100mm ND | 100mm ND
8635 | 216 | PTN11.111 | Blank Flange - 150mm ND | 150mm ND
8638 | 217 |  | Blank Flange - 200mm ND | 200mm ND
8641 | 218 |  | Blank Flange - 250mm ND | 250mm ND
8644 | 219 | PTN11.112 | Tiger Fitt - 250mm ND | 250mm ND
8647 | 220 |  | Flange Joint - 50mm ND | 50mm ND
8650 | 221 | PTN11.107 | Flange Joint - 100mm ND | 100mm ND
8653 | 222 | PTN11.108 | Flange Joint - 150mm ND | 150mm ND
8680 | 231 |  | HDPE Shut Off Valve c/w Cap Top - 63mm ND | 63mm ND
8683 | 232 | PTN11.119 | HDPE Shut Off Valve c/w Cap Top - 125mm ND | 125mm ND
8686 | 233 | PTN11.120 | HDPE Shut Off Valve c/w Cap Top - 180mm ND | 180mm ND
8689 | 234 |  | HDPE Shut Off Valve c/w Cap Top - 200mm ND | 200mm ND
8692 | 235 | PTN11.121 | HDPE Shut Off Valve c/w Cap Top - 250mm ND | 250mm ND
8695 | 236 | PTN11.122 | EO for Spindle Extension | EO for Spindle Extension
8698 | 237 | PTN11.123 | HDPE Ball Valve c/w Cap Top - 63mm ND | 63mm ND
8701 | 238 | PTN11.124 | HDPE Pressure Tapping Valve - 125mm ND x 63mm ND | 125mm ND x 63mm ND
8704 | 239 | PTN11.125 | HDPE Pressure Tapping Valve - 180mm ND x 63mm ND | 180mm ND x 63mm ND
8707 | 240 |  | Sluice Valves - 50mm ND | 50mm ND
8710 | 241 | PTN11.126 | Sluice Valves - 100mm ND | 100mm ND
8713 | 242 | PTN11.127 | Sluice Valves - 150mm ND | 150mm ND
8716 | 243 | PTN11.128 | Sluice Valves - 200mm ND | 200mm ND
8719 | 244 |  | Sluice Valves - 250mm ND | 250mm ND
8722 | 245 |  | Sluice Valves - 300mm ND | 300mm ND
8725 | 246 | PTN11.129 | Air Valves - 50mm ND | 50mm ND
8728 | 247 |  | Air Valves - 80mm ND | 80mm ND
8731 | 248 | PTN11.130 | Hydrants - 100mm Dia | 100mm Dia
8734 | 249 | PTN11.131 | Hydrants - 100mm Dia DI double flanged 90 deg duckfoot bend | 100mm Dia D.I double flanged 90 degree duckfoot bend
8737 | 250 |  | PRV - 150mm ND | 150mm ND
8740 | 251 |  | PRV - 200mm ND | 200mm ND
8743 | 252 | PTN11.132 | Precast Chamber - 605mm x 530mm small chamber | 605mm x 530mm small chamber
8746 | 253 | PTN11.133 | Precast Chamber - EO middle section small chamber | EO for middle section
8749 | 254 | PTN11.134 | Precast Chamber - 840mm x 760mm small chamber | 840mm x 760mm big chamber
8752 | 255 | PTN11.135 | Precast Chamber - EO middle section big chamber | EO for middle section
8755 | 256 | PTN11.136 | DI Heavy Duty Chamber - 320mm Dia x 440mm x 609mm (H) small chamber | 320mm Dia x 440mm x 609mm (H) small chamber
8758 | 257 | PTN11.137 | DI Heavy Duty Chamber - EO extension ring | EO for extension ring
8761 | 258 |  | DI Heavy Duty Chamber - 710mm Dia x 710mm x 100mm (H) big chamber | 710mm Dia x 710mm x 100mm (H) big chamber
8764 | 259 |  | DI Heavy Duty Chamber - EO extension ring | EO for extension ring
8773 | 262 |  | Surface Box - 500mm x 500mm x 150mm (H) Metal Surface Box | 500mm x 500mm x 150mm (H) Metal Surface Box
8776 | 263 | PTN11.139 | Air Valve Support | Metal Support for air valve
8779 | 264 | PTN11.140 | Binding G15- 50mm thk | 50mm Thk
8782 | 265 | PTN11.141 | Mass Concrete G20 | Thrust block etc
8785 | 266 | PTN11.142 | Reinforced Concrete G25 | In footings, column, thrust blocks
8788 | 267 | PTN11.143 | Pipeline/Marker Post | Pipe Marker
8791 | 268 |  | Tapping Points (for HDPE Pipe) - 63mm ND x 25mm | 63mm ND x 25mm
8794 | 269 | PTN11.144 | Tapping Points (for HDPE Pipe) - 125mm ND x 25mm | 125mm ND x 25mm
8797 | 270 | PTN11.145 | Tapping Points (for HDPE Pipe) - 180mm ND x 25mm | 180mm ND x 25mm
8800 | 271 | PTN11.146 | Tapping Points (for HDPE Pipe) - 225mm ND x 25mm | 225mm ND x 25mm
8803 | 272 | PTN11.147 | Tapping Points (for HDPE Pipe) - 250mm ND x 25mm | 250mm ND x 25mm
8806 | 273 |  | Tapping Points (for HDPE Pipe) - 315mm ND x 25mm | 315mm ND x 25mm
8809 | 274 |  | Tapping Points (for HDPE Pipe) - 355mm ND x 25mm | 355mm ND x 25mm
8812 | 275 | PTN11.148 | Tapping Points Type A (for non HDPE Pipe) - 100mm ND x 25mm | 100mm ND x 25mm
8815 | 276 | PTN11.149 | Tapping Points Type A (for non HDPE Pipe) - 150mm ND x 25mm | 150mm ND x 25mm
8818 | 277 |  | Tapping Points Type A (for non HDPE Pipe) - 150mm ND x 25mm x 2nos (Double Tapping) | 150mm ND x 25mm x 2nos (Double Tapping)
8821 | 278 |  | Tapping Points Type A (for non HDPE Pipe) - 200mm ND x 25mm | 200mm ND x 25mm
8824 | 279 |  | Tapping Points Type A (for non HDPE Pipe) - 250mm ND x 25mm | 250mm ND x 25mm
8827 | 280 |  | Tapping Points Type A (for non HDPE Pipe) - 300mm ND x 25mm | 300mm ND x 25mm
8830 | 281 | PTN11.150 | Tapping Point Type B (for non HDPE Pipe) - 100mm ND x 25mm | 100mm ND x 25mm
8833 | 282 | PTN11.151 | Tapping Point Type B (for non HDPE Pipe) - 150mm ND x 25mm | 150mm ND x 25mm
8836 | 283 |  | Tapping Point Type B (for non HDPE Pipe) - 150mm ND x 25mm x 2nos (Double Tapping) | 150mm ND x 25mm x 2nos (Double Tapping)
8839 | 284 |  | Tapping Point Type B (for non HDPE Pipe) - 155mm ND x 25mm | 155mm ND x 25mm
8842 | 285 | PTN11.152 | Tapping Point Type B (for non HDPE Pipe) - 200mm ND x 25mm | 200mm ND x 25mm
8845 | 286 |  | Tapping Point Type B (for non HDPE Pipe) - 250mm ND x 25mm | 250mm ND x 25mm
8848 | 287 |  | Tapping Point Type B (for non HDPE Pipe) -300mm ND x 25mm | 300mm ND x 25mm
8854 | 289 | PTN11.154 | Communication Pipe (HDPE) - 25mm ND | 25mm ND
8857 | 290 | PTN11.155 | Communication Pipe (HDPE) - 32mm ND | 32mm ND
8860 | 291 | PTN11.156 | Communication Pipe (HDPE) - 50mm ND | 50mm ND
8863 | 292 | PTN11.157 | Communication Pipe (HDPE) - 63mm ND | 63mm ND
8881 | 298 | PTN11.161 | SS (SS 304) Meter Stand - 20mm ND | 20mm ND
8884 | 299 | PTN11.162 | SS (SS 304) Meter Stand - 25mm ND | 25mm ND
8887 | 300 | PTN11.163 | SS (SS 304) Meter Stand - 40mm ND | 40mm ND
8890 | 301 | PTN11.164 | SS (SS 304) Meter Stand - 50mm ND | 50mm ND
8893 | 302 |  | 2-tier meter stand | 2-tier meter stand
8896 | 303 | PTN11.165 | 3-tier meter stand | 3-tier meter stand
8899 | 304 | PTN11.166 | 4-tier meter stand | 4-tier meter stand
8902 | 305 |  | 5-tier meter stand | 5-tier meter stand
8905 | 306 | PTN11.167 | SS (SS 304) Pipe - 20mm ND | 20mm ND
8908 | 307 | PTN11.168 | SS (SS 304) Pipe - 50mm ND | 50mm ND
8929 | 314 | PTN11.170 | Precast Concrete Piles - 150 x 150 x 6m Rc Pile incl. Pile Shoe | 150 x 150 x 6m Rc Pile incl. Pile Shoe
8932 | 315 | PTN11.171 | Precast Concrete Piles - 151 x 150 x 6m Rc Pile | 151 x 150 x 6m Rc Pile
8944 | 319 | PTN11.175 | Precast Concrete Piles - 10mm Thk Linatex Rubber Padding | 10mm Thk Linatex Rubber Padding
8947 | 320 | PTN11.176 | Precast Concrete Piles - 70mm x 6mm Thk Galvanised MS Trap | 70mm x 6mm Thk Galvanised MS Trap
8965 | 326 | PTN11.182 | Twin Column Saddle Support - 10mm Thk Linatex | 10mm Thk Linatex
8968 | 327 | PTN11.183 | Twin Column Saddle Support - 76mm x 6mm Gal MS Trap | 76mm x 6mm Gal MS Trap
8971 | 328 | PTN11.184 | Bakau Pile- 100mm Dia | 100mm Dia
8977 | 330 | PTN11.186 | 80mm Dia uPVC Pipe Class D - 80mm Dia x 6m long uPVC pipe | 80mm Dia x 6m long uPVC pipe
8980 | 331 | PTN11.187 | 80mm Dia uPVC Pipe Class D - Steel R6 reinforcement bar | Steel R6 reinforcement bar
8992 | 335 | PTN11.191 | 80mm Dia uPVC Pipe Class D - Galvanised pipe bracing | Galvanised pipe bracing
9031 | 348 | PTN11.201 | Miscellaneous - 100mm uPVC Pipe | 100mm UPVC Pipe
9034 | 349 | PTN11.202 | Supply, Lay and Compact gravel | Supply, Lay and Compact gravel
9037 | 350 | PTN11.203 | Supply and lay 225mm thick stone pitching | Supply and lay 225mm thick stone pitching
9040 | 351 | PTN11.204 | Geotextile | Geotextile
9043 | 352 |  | Supply and Lay 20mm thk granite chipping | Supply and Lay 20mm thk granite chipping
9049 | 354 | PTN11.205 | To supply and lay Geonet | To supply and lay Geonet
9130 | 381 |  | Miscellaneous - 10mm Thk Linatex | 10mm Thk Linatex