## Worksheet
BoQ Item ID References
ID | Item No. | JC Item No. | Title
10051 | 1 | PTN10.1 | Site clearance- Clear all bushes and shrubs and fell, remove and dispose off
10054 | 2 | PTN10.2 | Bulk excavation in all materials except rock to platform ...
10057 | 3 | PTN10.3 | EO bulk excavation in rock
10060 | 4 | PTN10.4 | Prepare, spread and compact exc mtls
10063 | 5 | PTN10.5 | Trench Excavation - 63mm ND
10066 | 6 | PTN10.6 | Trench Excavation - 125mm ND
10069 | 7 | PTN10.7 | Trench Excavation - 180mm ND
10072 | 8 | PTN10.8 | Trench Excavation - 200mm ND
10075 | 9 | PTN10.9 | Trench Excavation - 250mm ND
10078 | 10 |  | Trench Excavation - 315mm ND
10081 | 11 | PTN10.10 | Trench Excavation - 355mm ND
10084 | 12 | PTN10.11 | Road Cutting
10087 | 13 | PTN10.12 | Exc in track, gravel & erath road
10090 | 14 | PTN10.13 | Exc in concrete kerb
10093 | 15 | PTN10.14 | Exc cross hedges, fences, signboard
10096 | 16 | PTN10.15 | Exc cross under water course & earth drain
10099 | 17 | PTN10.16 | Exc cross concrete drain & culvert
10102 | 18 | PTN10.17 | Exc in high ground water level
10105 | 19 | PTN10.18 | Exc in rock
10108 | 20 | PTN10.19 | Remove unsuitable material
10111 | 21 | PTN10.20 | Incidental exc in all mtls
10114 | 22 | PTN10.21 | EO excavation in rock
10117 | 23 | PTN10.22 | Filling wash sand
10120 | 24 | PTN10.23 | Filling imported material
10123 | 25 | PTN10.24 | Restoration of Road - laterite earth to original thickness or min of 150mm
10126 | 26 | PTN10.25 | Restoration of Road - PC slab G25pipe OD + 450 x 300(W) x 100(H)
10129 | 27 | PTN10.26 | Restoration of Road - crusher run 450mm thk
10132 | 28 | PTN10.27 | Restoration of Road - lay interlocking (Hexagon)
10135 | 29 |  | Metalled Road - cold mix
10138 | 30 | PTN10.28 | Metalled Road - 70mm thk binder coarse
10141 | 31 | PTN10.29 | Metalled Road - 50mm thk wearing coarse
10144 | 32 | PTN10.30 | Miling and Resurfacing of Metalled Road - 50mm thk
10147 | 33 | PTN10.31 | Thermoplastic Road Lines Marking
10150 | 34 | PTN10.32 | Road Lines Marking - single line 100mm width
10153 | 35 | PTN10.33 | Road Lines Marking - double line 100mm width
10156 | 36 | PTN10.34 | Turfing top soil 100mm
10159 | 37 | PTN10.35 | Sport turfing
10162 | 38 | PTN10.36 | Close turfing
10165 | 39 | PTN10.37 | HDPE PE100 Pipes 63mm ND
10168 | 40 | PTN10.38 | HDPE PE100 Pipes 125mm ND
10171 | 41 | PTN10.39 | HDPE PE100 Pipes 180mm ND
10174 | 42 | PTN10.40 | HDPE PE100 Pipes 250mm ND
10177 | 43 |  | HDPE PE100 Pipes 315mm ND
10180 | 44 | PTN10.41 | HDPE PE100 Pipes 355mm ND
10183 | 45 | PTN10.42 | Long Stub End c/w Loose Flange PP/PE Coating - 63mm ND
10186 | 46 | PTN10.43 | Long Stub End c/w Loose Flange PP/PE Coating - 125mm ND
10189 | 47 | PTN10.44 | Long Stub End c/w Loose Flange PP/PE Coating - 180mm ND
10192 | 48 | PTN10.45 | Long Stub End c/w Loose Flange PP/PE Coating - 250mm ND
10195 | 49 | PTN10.46 | Long Stub End c/w Loose Flange PP/PE Coating - 315mm ND
10198 | 50 | PTN10.47 | Long Stub End c/w Loose Flange PP/PE Coating - 355mm ND
10201 | 51 |  | Electrofusion Elbows 45 deg - 63mm ND
10204 | 52 |  | Electrofusion Elbows 45 deg - 125mm ND
10207 | 53 |  | Electrofusion Elbows 45 deg - 180mm ND
10210 | 54 |  | Electrofusion Elbows 45 deg - 250mm ND
10213 | 55 |  | Electrofusion Elbows 45 deg - 315mm ND
10216 | 56 |  | Electrofusion Elbows 45 deg - 355mm ND
10219 | 57 |  | Spigot Elbows 45 deg - 63mm ND
10222 | 58 | PTN10.48 | Spigot Elbows 45 deg - 125mm ND
10225 | 59 | PTN10.49 | Spigot Elbows 45 deg - 180mm ND
10228 | 60 |  | Spigot Elbows 45 deg - 250mm ND
10231 | 61 |  | Spigot Elbows 45 deg - 315mm ND
10234 | 62 |  | Spigot Elbows 45 deg - 355mm ND
10237 | 63 | PTN10.50 | Electrofusion Elbows 90 deg - 125mm ND
10240 | 64 | PTN10.51 | Electrofusion Elbows 90 deg - 180mm ND
10243 | 65 |  | Electrofusion Elbows 90 deg - 250mm ND
10246 | 66 |  | Electrofusion Elbows 90 deg - 315mm ND
10249 | 67 | PTN10.52 | Spigot Elbows 90 deg - 125mm ND
10252 | 68 | PTN10.53 | Spigot Elbows 90 deg - 180mm ND
10255 | 69 |  | Spigot Elbows 90 deg - 250mm ND
10258 | 70 |  | Spigot Elbows 90 deg - 315mm ND
10261 | 71 |  | Spigot Elbows 90 deg - 355mm ND
10264 | 72 | PTN10.54 | Spigot Equal Tees - 125mm ND x 125mm ND
10267 | 73 | PTN10.55 | Spigot Equal Tees - 180mm ND x 180mm ND
10270 | 74 |  | Spigot Equal Tees - 250mm ND x 250mm ND
10273 | 75 | PTN10.56 | Spigot Equal Tees - 315mm ND x 315mm ND
10276 | 76 | PTN10.57 | Spigot Equal Tees - 355mm ND x 355mm ND
10279 | 77 |  | Electrofusion Reducer Junction Tees - 180mm ND x 125mm ND
10282 | 78 |  | Electrofusion Reducer Junction Tees - 200mm ND x 125mm ND
10285 | 79 |  | Electrofusion Reducer Junction Tees - 200mm ND x 180mm ND
10288 | 80 |  | Electrofusion Reducer Junction Tees - 250mm ND x 125mm ND
10291 | 81 |  | Electrofusion Reducer Junction Tees - 250mm ND x 180mm ND
10294 | 82 |  | Electrofusion Reducer Junction Tees - 280mm ND x 125mm ND
10297 | 83 |  | Electrofusion Reducer Junction Tees - 315mm ND x 250mm ND
10300 | 84 | PTN10.58 | Spigot Reducer Tees - 125mm ND x 63mm ND
10303 | 85 | PTN10.59 | Spigot Reducer Tees - 180mm ND x 63mm ND
10306 | 86 | PTN10.60 | Spigot Reducer Tees - 180mm ND x 125mm ND
10309 | 87 | PTN10.61 | Spigot Reducer Tees - 250mm ND x 63mm ND
10312 | 88 | PTN10.62 | Spigot Reducer Tees - 250mm ND x 125mm ND
10315 | 89 | PTN10.63 | Spigot Reducer Tees - 250mm ND x 180mm ND
10318 | 90 | PTN10.64 | Spigot Reducer Tees - 315mm ND x 125mm ND
10321 | 91 | PTN10.65 | Spigot Reducer Tees - 355mm ND x 125mm ND
10324 | 92 |  | Spigot Reducer Tees - 355mm ND x 180mm ND
10327 | 93 | PTN10.66 | Invert Level Tees for Washout - 125mm ND x 125mm ND
10330 | 94 | PTN10.67 | Invert Level Tees for Washout - 180mm ND x 125mm ND
10333 | 95 |  | Invert Level Tees for Washout - 180mm ND x 150mm ND
10336 | 96 | PTN10.68 | Invert Level Tees for Washout - 250mm ND x 125mm ND
10339 | 97 |  | Invert Level Tees for Washout - 250mm ND x 180mm ND
10342 | 98 |  | Invert Level Tees for Washout - 315mm ND x 125mm ND
10345 | 99 | PTN10.69 | Branch Saddle Stackholding - 125mm ND x 63mm ND
10348 | 100 |  | Branch Saddle Stackholding - 180mm ND x 63mm ND
10351 | 101 |  | Branch Saddle Stackholding - 250mm ND x 63mm ND
10354 | 102 |  | Branch Saddle Stackholding - 315mm ND x 63mm ND
10357 | 103 |  | Puddle Collar - 125mm ND
10360 | 104 |  | Puddle Collar - 180mm ND
10363 | 105 |  | Puddle Collar - 250mm ND
10366 | 106 |  | Puddle Collar - 315mm ND
10369 | 107 | PTN10.79 | Spigot Reducer - 180mm ND x 125mm ND
10372 | 108 | PTN10.80 | Spigot Reducer - 250mm ND x 180mm ND
10375 | 109 |  | Spigot Reducer - 280mm ND x 250mm ND
10378 | 110 |  | Spigot Reducer - 315mm ND x 250mm ND
10381 | 111 |  | Spigot Reducer - 355mm ND x 250mm ND
10384 | 112 | PTN10.81 | Spigot Reducer - 355mm ND x 315mm ND
10387 | 113 | PTN10.70 | Coupler - 63mm ND
10390 | 114 | PTN10.71 | Coupler - 125mm ND
10393 | 115 | PTN10.72 | Coupler - 180mm ND
10396 | 116 |  | Coupler - 225mm ND
10399 | 117 | PTN10.73 | Coupler - 250mm ND
10402 | 118 | PTN10.74 | Coupler - 315mm ND
10405 | 119 | PTN10.75 | Coupler - 355mm ND
10408 | 120 |  | Coupler - 63mm ND
10411 | 121 | PTN10.77 | Coupler - 180mm ND
10414 | 122 |  | Coupler - 250mm ND
10417 | 123 | PTN10.78 | Coupler - 280mm ND
10420 | 124 |  | Coupler - 315mm ND
10423 | 125 | PTN10.82 | Straight Pipe (uPVC) - 100mm ND bellmouth pipes
10426 | 126 | PTN10.83 | Straight Pipe (uPVC) - 155mm ND bellmouth pipes
10429 | 127 | PTN10.84 | Straight Pipe (uPVC) - 200mm ND bellmouth pipes
10432 | 128 | PTN10.85 | Plain and Flange Ended Straight Pipe - 100mm ND x 1000m long
10435 | 129 | PTN10.86 | 150mm ditto
10438 | 130 | PTN10.87 | 200mm ditto
10441 | 131 | PTN10.88 | 250mm ditto
10444 | 132 | PTN10.89 | 300mm ditto
10447 | 133 | PTN10.90 | Plain Ended Straight Pipes (Underground) - 100mm ND x 1000m long
10450 | 134 | PTN10.91 | 150mm ditto
10453 | 135 | PTN10.92 | 200mm ditto
10456 | 136 |  | 250mm ditto
10459 | 137 |  | 300mm ditto
10462 | 138 |  | Double Flange Ended Straight Pipe - 50mm ND x 300mm long
10465 | 139 |  | Double Flange Ended Straight Pipe - 100mm ND x 750mm long
10468 | 140 | PTN10.93 | Double Flange Ended Straight Pipe - 100mm ND x 1000mm long
10471 | 141 |  | Double Flange Ended Straight Pipe - 150mm ND x 1000mm long
10474 | 142 |  | Offtake Tee (Tapping) - 150mm ND plain ended barrel with 50mm ND ended branch
10477 | 143 | PTN10.94 | Plain Ended Bends (Underground) - 100mm ND x up to 45 deg
10480 | 144 | PTN10.95 | ditto 90 deg
10483 | 145 | PTN10.96 | Plain Ended Bends (Underground) - 125mm ND x up to 45 deg
10486 | 146 | PTN10.97 | ditto 90 deg
10489 | 147 | PTN10.98 | Plain Ended Bends (Underground) - 150mm ND x up to 45 deg
10492 | 148 | PTN10.99 | ditto 90 deg
10495 | 149 | PTN10.100 | Plain Ended Bends (Underground) - 200mm ND x up to 45 deg
10498 | 150 |  | ditto 90 deg
10501 | 151 |  | Plain Ended Bends (Underground) - 250mm ND x up to 45 deg
10504 | 152 |  | ditto 90 deg
10507 | 153 |  | Plain Ended Bends (Underground) - 300mm ND x up to 45 deg
10510 | 154 |  | Reducer Plain Ended - 200mm x 150mm
10513 | 155 | PTN10.101 | Plain Ended Tee - 100mm ND x 100mm ND
10516 | 156 | PTN10.102 | Plain Ended Tee - 150mm ND x 100mm ND
10519 | 157 | PTN10.103 | Plain Ended Tee - 250mm ND x 100mm ND
10522 | 158 | PTN10.104 | Straight Pipe (MS Pipe) - 100mm ND
10525 | 159 | PTN10.105 | ditto coated & wrapped
10528 | 160 | PTN10.106 | Straight Pipe (MS Pipe) - 150mm ND
10531 | 161 | PTN10.107 | ditto coated & wrapped
10534 | 162 | PTN10.108 | Straight Pipe (MS Pipe) - 200mm ND
10537 | 163 | PTN10.109 | ditto coated & wrapped
10540 | 164 |  | Straight Pipe (MS Pipe) - 250mm ND
10543 | 165 |  | ditto coated & wrapped
10546 | 166 |  | Straight Pipe (MS Pipe) - 300mm ND
10549 | 167 |  | ditto coated & wrapped
10552 | 168 |  | Plain Ended Straight Pipes (Above ground) - 100mm ND x 1000mm long
10555 | 169 |  | 150mm ditto
10558 | 170 |  | 200mm ditto
10561 | 171 |  | 250mm ditto
10564 | 172 | PTN10.110 | Plain Ended Bend - 100mm ND x 45 deg
10567 | 173 | PTN10.111 | ditto
10570 | 174 | PTN10.112 | Plain Ended Bend - 150mm ND x 45 deg
10573 | 175 | PTN10.113 | ditto
10576 | 176 | PTN10.114 | Plain Ended Bend - 200mm ND x 45 deg
10579 | 177 | PTN10.115 | ditto
10582 | 178 |  | Plain Ended Bend - 250mm ND x 45 deg
10585 | 179 |  | ditto
10588 | 180 |  | Plain Ended Bend - 300mm ND x 45 deg
10591 | 181 |  | ditto
10594 | 182 | PTN10.116 | Air Valve Tee - 100mm ND x 50mm ND
10597 | 183 | PTN10.117 | Air Valve Tee - 150mm ND x 50mm ND
10600 | 184 | PTN10.118 | Air Valve Tee - 200mm ND x 50mm ND
10603 | 185 |  | Air Valve Tee - 250mm ND x 50mm ND
10606 | 186 |  | Air Valve Tee - 300mm ND x 50mm ND
10609 | 187 | PTN10.119 | MS Collar - 100mm ND
10612 | 188 | PTN10.120 | MS Collar - 150mm ND
10615 | 189 | PTN10.121 | MS Collar - 200mm ND
10618 | 190 | PTN10.122 | MS Collar - 250mm ND
10621 | 191 | PTN10.123 | MS Collar - 300mm ND
10624 | 192 | PTN10.124 | Flange Adaptor Joint - 100mm ND
10627 | 193 | PTN10.125 | Flange Adaptor Joint - 150mm ND
10630 | 194 |  | Flange Adaptor Joint - 200mm ND
10633 | 195 |  | Flange Adaptor Joint - 250mm ND
10636 | 196 |  | HDPE Flange Adaptor Joint - 100mm ND
10639 | 197 |  | HDPE Flange Adaptor Joint - 150mm ND
10642 | 198 |  | HDPE Flange Adaptor Joint - 200mm ND
10645 | 199 |  | HDPE Flange Adaptor Joint - 250mm ND
10648 | 200 |  | Dresser Joint - 100mm ND
10651 | 201 |  | Dresser Joint - 150mm ND
10654 | 202 |  | Dresser Joint - 200mm ND
10657 | 203 |  | Dresser Joint - 250mm ND
10660 | 204 |  | Dresser Joint - 300mm ND
10663 | 205 | PTN10.127 | Detachable Joint - 100mm ND
10666 | 206 | PTN10.128 | Detachable Joint - 150mm ND
10669 | 207 | PTN10.129 | Detachable Joint - 200mm ND
10672 | 208 | PTN10.130 | Detachable Joint - 250mm ND
10675 | 209 | PTN10.131 | Detachable Joint - 300mm ND
10678 | 210 |  | Universal Coupling - 150mm ND
10681 | 211 |  | Universal Coupling - 200mm ND
10684 | 212 |  | Universal Coupling - 250mm ND
10687 | 213 | PTN10.132 | Variable Adaptor Joint - 100mm ND
10690 | 214 | PTN10.133 | Variable Adaptor Joint - 150mm ND
10693 | 215 | PTN10.134 | Blank Flange - 100mm ND
10696 | 216 | PTN10.135 | Blank Flange - 150mm ND
10699 | 217 |  | Blank Flange - 200mm ND
10702 | 218 |  | Blank Flange - 250mm ND
10705 | 219 |  | Tiger Fitt - 250mm ND
10708 | 220 |  | Flange Joint - 50mm ND
10711 | 221 |  | Flange Joint - 100mm ND
10714 | 222 |  | Flange Joint - 150mm ND
10717 | 223 |  | Connection to Existing Pipes - 63mm ND
10720 | 224 | PTN10.136 | Connection to Existing Pipes - 100mm ND
10723 | 225 | PTN10.137 | Connection to Existing Pipes - 125mm ND
10726 | 226 | PTN10.138 | Connection to Existing Pipes - 150mm ND
10729 | 227 | PTN10.139 | Connection to Existing Pipes - 200mm ND
10732 | 228 |  | Connection to Existing Pipes - 225mm ND
10735 | 229 | PTN10.140 | Connection to Existing Pipes - 250mm ND
10738 | 230 | PTN10.141 | Connection to Existing Pipes - 300mm ND
10741 | 231 | PTN10.142 | HDPE Shut Off Valve c/w Cap Top - 63mm ND
10744 | 232 | PTN10.143 | HDPE Shut Off Valve c/w Cap Top - 125mm ND
10747 | 233 | PTN10.144 | HDPE Shut Off Valve c/w Cap Top - 180mm ND
10750 | 234 |  | HDPE Shut Off Valve c/w Cap Top - 200mm ND
10753 | 235 | PTN10.145 | HDPE Shut Off Valve c/w Cap Top - 250mm ND
10756 | 236 | PTN10.146 | EO for spindle extension
10759 | 237 |  | HDPE Ball Valve c/w Cap Top - 63mm ND
10762 | 238 |  | HDPE Pressure Tapping Valve - 125mm ND x 63mm
10765 | 239 | PTN10.147 | HDPE Pressure Tapping Valve - 180mm ND x 63mm
10768 | 240 | PTN10.148 | Sluice Valves - 50mm ND
10771 | 241 | PTN10.149 | Sluice Valves - 100mm ND
10774 | 242 | PTN10.150 | Sluice Valves - 150mm ND
10777 | 243 | PTN10.151 | Sluice Valves - 200mm ND
10780 | 244 | PTN10.152 | Sluice Valves - 250mm ND
10783 | 245 | PTN10.153 | Sluice Valves - 300mm ND
10786 | 246 | PTN10.154 | Air Valves - 50mm ND
10789 | 247 |  | Air Valves - 80mm ND
10792 | 248 | PTN10.155 | Hydrants - 100mm Dia
10795 | 249 | PTN10.156 | Hydrants - 100mm Dia D.I double flanged 90 deg duckfoot bend
10798 | 250 |  | PRV - 150mm ND
10801 | 251 |  | PRV - 200mm ND
10804 | 252 | PTN10.157 | Precast Chamber - 605mm x 530mm small chamber
10807 | 253 | PTN10.158 | EO for middle section
10810 | 254 | PTN10.159 | Precast Chamber - 840mm x 760mm big chamber
10813 | 255 | PTN10.160 | EO for middle section
10816 | 256 | PTN10.161 | DI Heavy Duty Chamber - 320mm Dia x 440mm x 609mm (H) small chamber
10819 | 257 | PTN10.162 | EO for extension ring
10822 | 258 |  | DI Heavy Duty Chamber - 710mm Dia x 710mm x 100mm (H) big chamber
10825 | 259 |  | EO for extension ring
10828 | 260 |  | Brickwork Chamber - 1250mm x 1100mm
10831 | 261 |  | Brickwork Chamber - 1400mm x 1200mm
10834 | 262 | PTN10.163 | Surface Box - 500mm x 500mmx 150mm (H)
10837 | 263 | PTN10.164 | Air Valve Support
10840 | 264 | PTN10.165 | Blinding G15 - 50mm thk
10843 | 265 | PTN10.166 | Mass Cocrete G20
10846 | 266 | PTN10.167 | Reinforced Concrete G25
10849 | 267 | PTN10.168 | Pipeline / Marker Posts
10852 | 268 | PTN10.169 | Tapping Points (for HDPE Pipe) - 63mm ND x 25mm
10855 | 269 | PTN10.170 | Tapping Points (for HDPE Pipe) - 125mm ND x 25mm
10858 | 270 | PTN10.171 | Tapping Points (for HDPE Pipe) - 180mm ND x 25mm
10861 | 271 |  | Tapping Points (for HDPE Pipe) - 225mm ND x 25mm
10864 | 272 | PTN10.172 | Tapping Points (for HDPE Pipe) - 250mm ND x 25mm
10867 | 273 |  | Tapping Points (for HDPE Pipe) - 315mm ND x 25mm
10870 | 274 | PTN10.173 | Tapping Points (for HDPE Pipe) - 355mm ND x 25mm
10873 | 275 | PTN10.174 | Tapping Point Type A (for non HDPE Pipe) - 100mm ND x 25mm
10876 | 276 | PTN10.175 | Tapping Point Type A (for non HDPE Pipe) - 150mm ND x 25mm
10879 | 277 |  | Tapping Point Type A (for non HDPE Pipe) - 150mm ND x 25mm x 2 nos (Double tapping)
10882 | 278 | PTN10.176 | Tapping Point Type A (for non HDPE Pipe) - 200mm ND x 25mm
10885 | 279 | PTN10.177 | Tapping Point Type A (for non HDPE Pipe) - 250mm ND x 25mm
10888 | 280 |  | Tapping Point Type A (for non HDPE Pipe) - 300mm ND x 25mm
10891 | 281 | PTN10.178 | Tapping Point Type B (for non HDPE Pipe) - 100mm ND x 25mm
10894 | 282 | PTN10.179 | Tapping Point Type B (for non HDPE Pipe) - 150mm ND x 25mm
10897 | 283 |  | Tapping Point Type B (for non HDPE Pipe) - 150mm ND x 25mm x 2 nos (Double tapping)
10900 | 284 |  | Tapping Point Type B (for non HDPE Pipe) - 155mm ND x 25mm
10903 | 285 | PTN10.180 | Tapping Point Type B (for non HDPE Pipe) - 200mm ND x 25mm
10906 | 286 |  | Tapping Point Type B (for non HDPE Pipe) - 250mm ND x 25mm
10909 | 287 | PTN10.181 | Tapping Point Type B (for non HDPE Pipe) - 300mm ND x 25mm
10912 | 288 | PTN10.182 | EO under pavement & others road finishing
10915 | 289 | PTN10.183 | Communication Pipe (HDPE) - 25mm ND
10918 | 290 | PTN10.184 | Communication Pipe (HDPE) - 32mm ND
10921 | 291 | PTN10.185 | Communication Pipe (HDPE) - 50mm ND
10924 | 292 | PTN10.186 | Communication Pipe (HDPE) - 63mm ND
10927 | 293 | PTN10.187 | EO for OC excavation under pavement & others road finishing
10930 | 294 | PTN10.188 | Trenchless Method - 25mm ND
10933 | 295 | PTN10.189 | Trenchless Method - 32mm ND
10936 | 296 | PTN10.190 | Trenchless Method - 50mm ND
10939 | 297 | PTN10.191 | Trenchless Method - 63mm ND
10942 | 298 | PTN10.192 | SS (SS 304) Meter Stand - 20mm ND
10945 | 299 | PTN10.193 | SS (SS 304) Meter Stand - 25mm ND
10948 | 300 | PTN10.194 | SS (SS 304) Meter Stand - 40mm ND
10951 | 301 | PTN10.195 | SS (SS 304) Meter Stand - 50mm ND
10954 | 302 | PTN10.196 | SS (SS 304) Meter Stand - 2 tier
10957 | 303 | PTN10.197 | SS (SS 304) Meter Stand - 3 tier
10960 | 304 | PTN10.198 | SS (SS 304) Meter Stand - 4 tier
10963 | 305 |  | SS (SS 304) Meter Stand - 5 tier
10966 | 306 | PTN10.199 | SS (SS 304) Pipe - 20mm ND
10969 | 307 | PTN10.200 | SS (SS 304) Pipe - 50mm ND
10972 | 308 |  | Hot Tapping - 280mm Dia HDPE pipe x 125mm
10975 | 309 |  | Hot Tapping - 100mm Dia DI pipe x 125mm
10978 | 310 |  | Hot Tapping - 150mm Dia DI pipe x 125mm
10981 | 311 |  | Hot Tapping - 300mm Dia DI pipe x 180mm
10984 | 312 |  | Hot Tapping - 375mm Dia DI pipe x 150mm
10987 | 313 | PTN10.201 | Precast Concrete Piles
10990 | 314 | PTN10.202 | Precast Concrete Piles - 150 x 150 x 6m RC pile incl. pile shoe
10993 | 315 | PTN10.203 | Precast Concrete Piles - 150 x 150 x 6m RC pile
10996 | 316 | PTN10.204 | Haul, handle, pitch & drive
10999 | 317 | PTN10.205 | Supply, jointing end plate
11002 | 318 | PTN10.206 | Cut off 150mm rc pile
11005 | 319 | PTN10.207 | Precast Concrete Piles - 10mm thk linatex rubber padding
11008 | 320 | PTN10.208 | Precast Concrete Piles - 70mm x 6mm thk galvanised MS trap
11011 | 321 | PTN10.209 | Dynamic pile test
11014 | 322 |  | Twin Column Saddle Support- Mob
11017 | 323 |  | Twin Column Saddle Support - RC footing
11020 | 324 |  | Twin Column Saddle Support - RC column
11023 | 325 |  | Twin Column Saddle Support - RC pier support
11026 | 326 |  | Twin Column Saddle Support - 10mm thk linatex
11029 | 327 |  | Twin Column Saddle Support - 76mm x 6mm Gal MS trap
11032 | 328 | PTN10.210 | Bakau Pile - 100mm Dia
11035 | 329 | PTN10.211 | 80mm Dia uPVC Pipe Class D- Mob
11038 | 330 | PTN10.212 | 80mm Dia uPVC Pipe Class D - 80mm Dia x 6m long uPVC pipe
11041 | 331 | PTN10.213 | 80mm Dia uPVC Pipe Class D- Steel R6 reinforcement bar
11044 | 332 | PTN10.214 | Haul, handle, pitch & drive
11047 | 333 | PTN10.215 | 80mm Dia uPVC Pipe Class D- Jointing uPVC pipe
11050 | 334 | PTN10.216 | 80mm Dia uPVC Pipe Class D- Cut-off 80mm dia uPVC pipe
11053 | 335 | PTN10.217 | 80mm Dia uPVC Pipe Class D- Galvanised pipe bracing
11056 | 336 | PTN10.218 | Cut-off Trees
11059 | 337 | PTN10.219 | Pipe Jacking - HDD Method- Mob & Demob
11062 | 338 | PTN10.220 | Design jacking pit
11065 | 339 | PTN10.221 | Design receiving pit
11068 | 340 | PTN10.222 | EO for SI
11071 | 341 | PTN10.223 | Pipe Jacking - HDD Method - 125mm HDPE pipe
11074 | 342 | PTN10.224 | Pipe Jacking - HDD Method - 180mm HDPE pipe
11077 | 343 | PTN10.225 | Pipe Jacking - HDD Method - 250mm HDPE pipe
11080 | 344 | PTN10.226 | Pipe Jacking - HDD Method - 355mm HDPE pipe
11083 | 345 | PTN10.227 | Dismantle & remove jacking pit
11086 | 346 | PTN10.228 | ditto receiving pit
11089 | 347 | PTN10.229 | Miscellaneous- Concrete apron
11092 | 348 |  | Miscellaneous - 100mm uPVC pipe
11095 | 349 |  | Supply, lay & compact gravel
11098 | 350 |  | Supply and lay 225mm thick stone pitching
11101 | 351 | PTN10.231 | Geotextile
11104 | 352 | PTN10.230 | Supply and lay 20mm thk granite chipping
11107 | 353 | PTN10.233 | Strip external bitumen sheathing on pipework, clean
11110 | 354 | PTN10.232 | Supply and lay Geonet
11113 | 355 |  | Water pressure testing - 63mm ND
11116 | 356 | PTN10.234 | Water pressure testing - 125mm ND
11119 | 357 |  | ditto 155mm ND
11122 | 358 | PTN10.235 | ditto 180mm ND
11125 | 359 | PTN10.236 | ditto 250mm ND
11128 | 360 |  | ditto 315mm ND
11131 | 361 | PTN10.237 | ditto 355mm ND
11134 | 362 |  | Sterling & flushing - 63mm ND
11137 | 363 | PTN10.238 | Sterling & flushing - 125mm ND
11140 | 364 |  | ditto 155mm ND
11143 | 365 | PTN10.239 | ditto 180mm ND
11146 | 366 | PTN10.240 | ditto 250mm ND
11149 | 367 |  | ditto 315mm ND
11152 | 368 | PTN10.241 | ditto 355mm ND
11155 | 369 |  | Water leakage test - 63mm ND
11158 | 370 | PTN10.242 | Water leakage test - 125mm ND
11161 | 371 |  | ditto 155mm ND
11164 | 372 | PTN10.243 | ditto 180mm ND
11167 | 373 | PTN10.244 | ditto 250mm ND
11170 | 374 |  | ditto 315mm ND
11173 | 375 | PTN10.245 | ditto 355mm ND
11176 | 376 | PTN10.246 | Water leakage test for replacement tapping
11179 | 377 | PTN10.247 | EO for make good leaking or pipe burst
11182 | 378 | PTN10.248 | Field Density Test (FDT)
11185 | 379 | PTN10.249 | California Bearing Test (FDT)
11188 | 380 | PTN10.250 | Coring in metalled road
11191 | 381 |  | Miscellaneous - 10mm thk linatex
11194 | 382 | PTN10.251 | Work Beyond Normal Workly Hours - 125mm ND
11197 | 383 |  | Work Beyond Normal Workly Hours - 155mm ND
11200 | 384 | PTN10.252 | Work Beyond Normal Workly Hours - 180mm ND
11203 | 385 |  | Work Beyond Normal Workly Hours - 250mm ND
11206 | 386 | PTN10.253 | Work Beyond Normal Workly Hours - 355mm ND
11209 | 387 | PTN10.254 | Dismantle of existing pipe/pillar
11212 | 388 | PTN10.255 | Deduction of salvage value